## Turbidity and CTs
OHA - Drinking Water Services -Turbidity Monitoring Report Form | [6 empty] | County: | Douglas
Conventional or Direct Filtration | [6 empty] | Month/Year: | 2025-12-01
System Name: | City of Yoncalla |  |  | ID#: 41 00958 |  |  | WTP : TP - | A
Day | 12 AM [NTU] | 4 AM [NTU] | 8 AM (NTU) | NOON [NTU] | 4 PM [NTU] | 8 PM [NTU] | Highest Reading of the Day 1 [NTU]
1 | NIS | 0.06 | 0.06 | 0.05 | 0.075 | NIS | 0.08
2 | NIS | 0.06 | 0.051 | 0.068 | 0.053 | NIS | 0.07
3 | NIS | 0.05 | 0.049 | 0.057 | 0.059 | NIS | 0.06
4 | NIS | 0.05 | 0.049 | 0.056 | 0.059 | NIS | 0.06
5 | NIS | 0.05 | 0.06 | 0.051 | NIS | NIS | 0.06
6 | NIS | NIS | 0.05 | 0.06 | 0.05 | 0.06 | 0.06
7 | 0.05 | NIS | 0.05 | NIS | NIS | NIS | 0.05
8 | NIS | 0.07 | 0.05 | 0.05 | 0.05 | 0.05 | 0.07
9 | NIS | NIS | 0.049 | 0.06 | NIS | NIS | 0.06
10 | NIS | 0.05 | 0.05 | 0.049 | 0.057 | 0.05 | 0.06
11 | NIS | NIS | 0.09 | 0.054 | 0.055 | NIS | 0.09
12 | NIS | 0.05 | 0.05 | NIS | NIS | NIS | 0.05
13 | NIS | NIS | NIS | 0.048 | 0.05 | 0.05 | 0.05
14 | 0.05 | 0.05 | NIS | 0.057 | 0.05 | NIS | 0.06
15 | NIS | 0.09 | 0.049 | NIS | NIS | NIS | 0.09
16 | NIS | NIS | 0.056 | 0.049 | 0.054 | 0.05 | 0.056
17 | NIS | NIS | 0.05 | NIS | 0.062 | NIS | 0.06
18 | NIS | NIS | 0.05 | 0.056 | NIS | NIS | 0.06
19 | NIS | 0.05 | 0.05 | NIS | NIS | NIS | 0.05
20 | NIS | NIS | 0.053 | 0.052 | 0.06 | 0.05 | 0.06
21 | 0.05 | NIS | 0.061 | 0.06 | NIS | NIS | 0.06
22 | NIS | 0.06 | 0.06 | 0.055 | 0.049 | NIS | 0.06
23 | NIS | NIS | 0.06 | 0.055 | NIS | 0.05 | 0.06
24 | NIS | NIS | 0.053 | 0.052 | NIS | NIS | 0.05
25 | NIS | NIS | 0.05 | 0.05 | NIS | NIS | 0.05
26 | NIS | NIS | NIS | 0.055 | 0.054 | 0.05 | 0.06
27 | NIS | NIS | NIS | 0.05 | 0.06 | 0.06 | 0.06
28 | NIS | NIS | 0.08 | 0.06 | 0.07 | NIS | 0.08
29 | NIS | NIS | 0.052 | 0.061 | NIS | NIS | 0.06
30 | NIS | NIS | 0.052 | 0.061 | NIS | NIS | 0.06
31 | NIS | 0.06 | 0.06 | 0.05 | NIS | NIS | 0.06
Conventional or Direct Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of 4-hour turbidity readings ≤ 0.3 NTU? |  |  |  | Yes / No | CT's met everyday? (see back) |  | All Cl2 residual at entry point ≥ 0.2 mg/l?
All 4-hour turbidity readings ≤ 1 NTU? |  |  |  | Yes / No | Yes / No |  | Yes / No
All turbidity readings < IFE2 triggers |  |  |  | Yes / No
Notes: |  |  |  |  | PRINTED NAME: Anthony D. Rogers
[5 empty] | SIGNATURE: |  |  | DATE:1/2/2026
[5 empty] | PHONE #: ( 541 ) 419-7958 |  |  | CERT #:6714
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in columns 12 AM through 8 PM may not
correspond to continuous readings' maximum. 2 IFE = Individ. Filter Effl. (333-061-0040(1)(d)(B&C))
PAGE 1 of 2
OHA - Drinking Water Program - Surface Water Quality Data Form | [6 empty] | WTP - : | A
System Name: | City of Yoncalla |  | ID#: 41 00958 |  | Month/Year: | 2025-12-01 | Disinfection Giardia Log Inactive: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 3 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 3 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 | 0.87 | 63 | 54.81 | 12.7 | 7.5 | 18.8233 | YES | 469
2 | 0.82 | 63 | 51.66 | 12.2 | 7.3 | 18.1925 | YES | 469
3 | 0.98 | 63 | 61.74 | 11.9 | 7.3 | 18.8802 | YES | 469
4 | 0.9 | 63 | 56.7 | 11.4 | 7.4 | 20.0131 | YES | 469
5 | 1 | 63 | 63 | 10.7 | 7.2 | 19.7608 | YES | 469
6 | 1.1 | 63 | 69.3 | 11.4 | 7.4 | 20.4661 | YES | 469
7 | 1.07 | 63 | 67.41 | 11 | 7.5 | 21.6855 | YES | 469
8 | 0.87 | 63 | 54.81 | 12 | 7.7 | 21.2942 | YES | 469
9 | 1.12 | 63 | 70.56 | 12.1 | 7.5 | 20.2889 | YES | 469
10 | 1.02 | 63 | 64.26 | 11.6 | 7.5 | 20.7303 | YES | 469
11 | 1 | 63 | 63 | 11.8 | 7.6 | 21.1405 | YES | 469
12 | 1.06 | 63 | 66.78 | 12.6 | 7.4 | 18.6603 | YES | 469
13 | 1.17 | 63 | 73.71 | 12.9 | 7.4 | 18.5218 | YES | 469
14 | 1.13 | 63 | 71.19 | 12.7 | 7.5 | 19.3864 | YES | 469
15 | 1.11 | 63 | 69.93 | 11.6 | 7.4 | 20.2227 | YES | 469
16 | 1.31 | 63 | 82.53 | 11.8 | 7.5 | 21.1376 | YES | 469
17 | 1.16 | 63 | 73.08 | 11.9 | 7.5 | 20.6486 | YES | 469
18 | 1.08 | 63 | 68.04 | 11.9 | 7.6 | 21.1919 | YES | 469
19 | 1.13 | 63 | 71.19 | 11.6 | 7.7 | 22.5146 | YES | 469
20 | 1.17 | 63 | 73.71 | 12 | 7.6 | 21.2674 | YES | 469
21 | 1.22 | 63 | 76.86 | 11.6 | 7.5 | 21.2014 | YES | 469
22 | 1.04 | 63 | 65.52 | 11 | 7.6 | 22.3855 | YES | 469
23 | 1.22 | 63 | 76.86 | 11.6 | 7.4 | 20.4734 | YES | 469
24 | 1.24 | 63 | 78.12 | 11.5 | 7.4 | 20.6541 | YES | 469
25 | 1.04 | 63 | 65.52 | 10 | 7.6 | 23.9203 | YES | 469
26 | 1.08 | 63 | 68.04 | 10.9 | 7.5 | 21.8535 | YES | 469
27 | 1.23 | 63 | 77.49 | 10.6 | 7.6 | 23.4875 | YES | 469
28 | 1.03 | 63 | 64.89 | 9.8 | 7.6 | 24.2133 | YES | 469
29 | 1.2 | 63 | 75.6 | 10.7 | 7.4 | 21.6708 | YES | 469
30 | 1.11 | 63 | 69.93 | 9.5 | 7.5 | 24.0591 | YES | 469
31 | 1.13 | 63 | 71.19 | 9.2 | 7.5 | 24.6011 | YES | 469
3 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised November 2022
Return by 10th of following month by email, fax, or mail to: dwp.dmce@oha.oregon.gov; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2