## Turbidity and CT
OHA - Drinking Water Services - Surface Water Quality Data Form | [5 empty] | County: | Jackson
Cartridge or Bag Filtration | [5 empty] | Month/Year: | 2024-11-01
System Name: | Cascade Gorge Properties |  |  | ID#: 41 | 91556 | WTP ID: TP-
Day | PSI Before Filter | PSI After Filter | PSID | PSID When to Change Filter | Daily Turbidity Reading [NTU] | Highest Reading of the day 1 [NTU]
1 | 0 | 0 | 0 |  | 0.04 | 0.04
2 | 46 | 44 | 2 |  | 0.04 | 0.04
3 | 32 | 30 | 2 |  | 0.05 | 0.05
4 | 36 | 34 | 2 |  | 0.04 | 0.04
5 | 36 | 34 | 2 |  | 0.04 | 0.04
6 | 36 | 34 | 2 |  | 0.04 | 0.04
7 | 36 | 34 | 2 |  | 0.04 | 0.04
8 | 0 | 0 | 0 |  | 0.04 | 0.04
9 | 0 | 0 | 0 |  | 0.04 | 0.04
10 | 38 | 36 | 2 |  | 0.04 | 0.04
11 | 0 | 0 | 0 |  | 0.04 | 0.04
12 | 0 | 0 | 0 |  | 0.04 | 0.04
13 | 42 | 40 | 2 |  | 0.04 | 0.04
14 | 38 | 36 | 2 |  | 0.04 | 0.04
15 | 40 | 38 | 2 |  | 0.04 | 0.04
16 | 0 | 0 | 0 |  | 0.04 | 0.04
17 | 38 | 36 | 2 |  | 0.04 | 0.04
18 | 40 | 38 | 2 |  | 0.04 | 0.04
19 | 40 | 38 | 2 |  | 0.05 | 0.05
20 | 0 | 0 | 0 |  | 0.04 | 0.04
21 | 38 | 36 | 2 |  | 0.04 | 0.04
22 | 0 | 0 | 0 |  | 0.04 | 0.04
23 | 0 | 0 | 0 |  | 0.04 | 0.04
24 | 46 | 44 | 2 |  | 0.04 | 0.04
25 | 0 | 0 | 0 |  | 0.04 | 0.04
26 | 0 | 0 | 0 |  | 0.04 | 0.04
27 | 38 | 36 | 2 |  | 0.04 | 0.04
28 | 0 | 0 | 0 |  | 0.04 | 0.04
29 | 42 | 40 | 2 |  | 0.04 | 0.04
30 | 0 | 0 | 0 |  | 0.04 | 0.04
31
Cartridge & Bag Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of daily turbidity readings ≤ 1 NTU? |  |  |  | Yes | CT's met everyday? (see back) | All Cl2 residual at entry point ≥ 0.2 mg/l?
All daily turbidity readings ≤ 5 NTU? |  |  |  | Yes | Yes | Yes
Notes: PSI = pounds per square inch |  |  |  |  | PRINTED NAME: Salena Su
PSID = pounds per square inch difference (before filter - after filter) |  |  |  |  | SIGNATURE: |  | 2024-12-03
PSID When to Change Filter = look in manual for manufacturer's specifications when to change the filter, at what PSID. |  |  |  |  | PHONE #: (541) 287 - 2197 |  | CERT #:
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in Daily Turbidity Reading column may not
correspond to continuous readings' maximum.
PAGE 1 of 2
OHA - Drinking Water Services - Surface Water Quality Data Form | [6 empty] | WTP- :
System Name: | Cascade Gorge Properties |  | ID#: 41 | 91556 | Month/Year: | 2024-11-01 | Disinfection Giardia Log Inactiv: | 1
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 2 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 2 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 | 1.8 | 207 | 372.6 | 12.7 | 7.5 | 41.8293 | YES | 0
2 | 1.7 | 207 | 351.9 | 12.7 | 7.4 | 39.8632 | YES | 2.5
3 | 0.7 | 207 | 144.9 | 12.3 | 7.5 | 38.2195 | YES | 2.5
4 | 1.8 | 207 | 372.6 | 12.1 | 7.4 | 42.2924 | YES | 2.5
5 | 1.7 | 207 | 351.9 | 12.2 | 7.5 | 43.0262 | YES | 2.5
6 | 1.6 | 207 | 331.2 | 12.1 | 7.5 | 42.825 | YES | 2.5
7 | 1.7 | 207 | 351.9 | 12.1 | 7.5 | 43.3104 | YES | 2.5
8 | 1.6 | 207 | 331.2 | 12.2 | 7.5 | 42.5444 | YES | 0
9 | 1.5 | 207 | 310.5 | 12.4 | 7.5 | 41.5202 | YES | 0
10 | 1.7 | 207 | 351.9 | 12.5 | 7.5 | 41.9104 | YES | 2.5
11 | 1.8 | 207 | 372.6 | 12.3 | 7.5 | 43.2284 | YES | 0
12 | 1.6 | 207 | 331.2 | 12 | 7.4 | 41.6247 | YES | 0
13 | 1.7 | 207 | 351.9 | 11.6 | 7.4 | 43.2167 | YES | 3
14 | 1.6 | 207 | 331.2 | 11.3 | 7.4 | 43.5848 | YES | 2.5
15 | 1.6 | 207 | 331.2 | 10.9 | 7.4 | 44.7507 | YES | 3
16 | 1.7 | 207 | 351.9 | 10.8 | 7.4 | 45.5609 | YES | 0
17 | 1.6 | 207 | 331.2 | 10.6 | 7.4 | 45.6477 | YES | 2.5
18 | 1.4 | 207 | 289.8 | 9.6 | 7.4 | 47.6839 | YES | 3
19 | 1.3 | 207 | 269.1 | 9.4 | 7.4 | 47.7752 | YES | 3
20 | 1.4 | 207 | 289.8 | 9.1 | 7.4 | 49.2989 | YES | 0
21 | 1.4 | 207 | 289.8 | 9.6 | 7.4 | 47.6839 | YES | 3
22 | 1.3 | 207 | 269.1 | 9.5 | 7.4 | 47.4585 | YES | 0
23 | 1.4 | 207 | 289.8 | 9.7 | 7.4 | 47.3679 | YES | 0
24 | 1.3 | 207 | 269.1 | 9.5 | 7.4 | 47.4585 | YES | 3
25 | 1.2 | 207 | 248.4 | 9.6 | 7.4 | 46.6112 | YES | 0
26 | 1.3 | 207 | 269.1 | 9.5 | 7.4 | 47.4585 | YES | 0
27 | 1.2 | 207 | 248.4 | 9.2 | 7.4 | 47.8667 | YES | 3
28 | 1 | 207 | 207 | 8.8 | 7.4 | 48.0503 | YES | 0
29 | 1 | 207 | 207 | 8.2 | 7.3 | 48.2655 | YES | 3
30 | 1 | 207 | 207 | 8 | 7.3 | 48.9131 | YES | 0
31
2 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised November 2022
Return by 10th of following month by email, fax, or mail to: dwp.dmce@oha.oregon.gov; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2