## Turbidity and CT
OHA - Drinking Water Services - Surface Water Quality Data Form | [5 empty] | County: | Coos
Cartridge or Bag Filtration | [5 empty] | Month/Year: | 2025-12-25
System Name: | COOS CO PKS WEST LAVERNE |  |  | ID#: 41 | 94558 | WTP ID: TP- | 4194558
Day | PSI Before Filter | PSI After Filter | PSID | PSID When to Change Filter | Daily Turbidity Reading [NTU] | Highest Reading of the day 1 [NTU]
1 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
2 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
3 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
4 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
5 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
6 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
7 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
8 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
9 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
10 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
11 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
12 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
13 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
14 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
15 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
16 | WINTERIZED | 40 | #VALUE! | 30 | WINTERIZED
17 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
18 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
19 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
20 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
21 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
22 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
23 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
24 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
25 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
26 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
27 | WINTERIZED | OFFLINE | 0 | 30 | WINTERIZED
28 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
29 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
30 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
31 | WINTERIZED | OFFLINE | #VALUE! | 30 | WINTERIZED
Cartridge & Bag Filtration |  |  |  |  | Monthly Summary (Answer Yes or No)
95% of daily turbidity readings ≤ 1 NTU? |  |  |  | yes | CT's met everyday? (see back) | All Cl2 residual at entry point ≥ 0.2 mg/l?
All daily turbidity readings ≤ 5 NTU? |  |  |  | yes | Yes | Yes
Notes: PSI = pounds per square inch |  |  |  |  | PRINTED NAME:Caden Thurman
PSID = pounds per square inch difference (before filter - after filter) |  |  |  |  | SIGNATURE: |  | 12/2025
PSID When to Change Filter = look in manual for manufacturer's specifications when to change the filter, at what PSID. |  |  |  |  | PHONE #: ( 541 ) 396.2344 |  | CERT #:317697
1 Including continuous NTU data, if applicable, for optimization recording purposes. Compliance values in Daily Turbidity Reading column may not
correspond to continuous readings' maximum.
PAGE 1 of 2
OHA - Drinking Water Services - Surface Water Quality Data Form | [6 empty] | WTP- :
System Name: | COOS CO PKS- WEST LAVERN |  | ID#: 41 | 94557 | july/2025 |  | Disinfection Giardia Log Inactiv: | 0.5
Date / Time | Minimum Cl2 Residual at 1st User ( C ) 2 | Contact Time (T) | Actual CT | Temp | pH | Required CT | CT Met? 2 | Peak Hourly Demand Flow
| [ppm or mg/L] | [minutes] | C X T | [° C] |  | formula | Yes / No | [GPM]
1 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
2 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
3 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
4 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
5 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
6 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
7 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
8 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
9 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
10 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
11 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
12 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
13 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
14 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
15 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
16 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
17 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
18 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
19 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
20 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
21 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
22 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
23 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
24 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
25 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
26 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
27 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
28 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
29 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
30 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
31 | WINTERIZED | 104 | #VALUE! | WINTERIZED | WINTERIZED | #VALUE! | #VALUE! | 7
2 If Cl2 at entry point < 0.2 mg/l or CT not met, notify DWS within 24 hours. | [6 empty] | Revised November 2022
Return by 10th of following month by email, fax, or mail to: dwp.dmce@oha.oregon.gov; 971-673-0694; or Drinking Water Services, PO Box 14350, Portland, OR 97293-0350
PAGE 2 of 2